

Algona Water Utility — 2022 Water Quality Report

System ID 01450V

Este reporte examina la calidad del agua de la ciudad. En resumen, el agua de la ciudad es segura.

The Algona Water Utility is providing you with our 2022 Water Quality Report. This report is a summary of information about drinking water quality. Included are details about where Algona water comes from, what it contains, and how it compares to standards set by Environmental Protection Agency.

Since 1996 the City of Algona has purchased its water from the City of Auburn. Auburn's water comes from a combination of deep wells and springs. Coal Creek Springs, Auburn's largest and second oldest supply source, developed for water supply in 1925. The springs are located south of the White River and are surrounded by a 220-acre resource protection area. West Hill Springs, Auburn's oldest supply, is located in the West Hill of Auburn and was purchased by the City in 1907. Although West Hill Springs is one of the smallest sources, it remains an important economical source of supply, which does not require pumping for use by customers. Auburn has sufficient supply sources to meet Algona's demands, even if anyone well or spring is out of service for maintenance or repair. Currently the only treatment provided to the water supply is chlorination. Chlorine is added to the water supply to minimize the potential for any microbial growth within the water supply system.

Required Health Information from The EPA

# Health Issues

Some people may be more vulnerable to contaminants in drinking water than the general population (contaminants are something in drinking water other than water). Immune-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infections. These people should seek advice about drinking water from their health care providers. Environmental Protection Agency (EPA)/Centers for Disease Control (CDC) guidelines on appropriate means to lessen the risk of infection by Cryptosporidium and other microbial contaminants are available from the EPA's Safe Water Drinking Hotline (800-426-4791).

Contaminants and Regulations

Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants. The presence of contaminants does not mean the water poses a health risk. More information about contaminants and potential health effects can be obtained by calling the EPA Safe Drinking Water Hotline (800-4264791

The sources of drinking water for both tap water and bottled water include rivers, lakes, streams, ponds, reservoirs, springs, and wells. As water travels over the surface of the land or through the ground, it dissolves minerals and, in some cases, radioactive material, and can pick up substances resulting from the presence of animal or from human activity. Microbial contaminants, such as viruses and bacteria, may come from septic systems, livestock, and wildlife. Inorganic contaminants, such as salts and metals, can be naturally occurring or result from urban stormwater runoff, septic systems, or fertilizer use. Pesticides and herbicides may come from a variety of sources such as agriculture, urban stormwater runoff, and residential uses. Organic chemical contaminants, including synthetic and volatile organic chemicals, are byproducts of industrial processes and petroleum production, and can also come from gas stations, urban stormwater runoff, and septic systems. Radioactive contaminants can be naturally occurring or be the result of oil and gas production and mining activities.

In order to ensure that tap water is safe to drink, EPA prescribes regulations that limit the amount of certain contaminants in water provided by public water systems. Food and Drug Administration regulations set limits for contaminants in bottled water that are intended to provide similar protection for public health.

Conserving Our Valuable Water Resource

In cooperation with all the other water utilities in the region, we encourage our customers to use water wisely

# Cross Connection Control Program - Protecting Our Water System from Contamination

A cross connection is a connection between water pipes and a source of contamination. Examples of cross connections include hose ends submerged in pools, hot tubs or buckets, irrigation systems and most hose-end spray applicators.

Although the conditions are rare cross connections can be dangerous because they provide opportunities for contaminated fluids to be pulled back into the water system. To protect our water supply, avoid using hose-end sprayers, maintain an air gap by keeping the hose end above the water surface when filling containers, and install a backflow assembly on irrigation systems. Backflow assemblies require a plumbing permit, must be inspected by a cross connection specialist, and must be tested by a certified tester when installed, and yearly thereafter. For more information or a list of certified testers, call the Public Works at 253-833-2897.

Water Use Efficiency

Water loss is the difference between the total water purchased and the water used by our customers. The City of Algona Water Utility goal is to maintain water loss at or below 10 percent. In accordance with the Water Use Efficiency reporting requirements, the water loss for year 2022 is 6%. The three-year average for the years up to and including 2022 is 6.3%. In an effort to limit water loss, the Utility performs annual system leak detection and repair, tests production and service meters, calibrating or replacing them as required, and issues permits for water withdrawal from hydrants. Responsible water use by our customers is promoted by the Utility through educational programs for school children and homeowners. Quantifying the benefit of educational programs and corresponding behavioral changes is difficult, but reductions in water use and/or waste can have a significant impact on the amount of water used as a whole. The City of Algona is committed to efficiently managing the water distribution system and encourages you to use water wisely.

System ID 01450V

|  |  |  |  |
| --- | --- | --- | --- |
| Parameter | Standards | Sample Results | Additional Information |
|  | MCLG | MCL |  |
| Inorganic Substance |  |
| Arsenic (ppb)Nitrate (ppm) | 010 | 1010 |  | <0.0050<1.00 | Erosions of natural depositsNatural deposits, fertilizer, septic tanks |
| Volatile Organic Substance |
| Haloacetic Acids (ppb)Total Trihalomethanes (ppb) | NANA | 6080 |  | 1.216.55 | By-product of drinking water disinfectionBy-product of drinking water disinfection |
| Other Monitored Substance |
| Chlorine Residual (ppm)Manganese (ppb) | 4(MRLD) | 4(MRDLG)50(SMCL) | 0.57 | 0.36-0.78 0.0150 | Measure of disinfectant added to water Black to brown color, black staining, bitter metallic taste |
| Unit Descriptions | Definitions |
| NA: Not applicableND: Not detectedppm: parts per million, or milligrams per liter (mg/l)ppb: parts per billion, or micrograms per liter (ug/l) | **MCL: Maximum Contaminant Level** The highest level of a contaminant that is allowed in drinking water. MCL’s are set as close to the MCLG’s as feasible using the best available treatment technology.**MCLG: Maximum Contaminant Level Goal** The level of a contaminant in drinking water below which there is no known or expected risk to health. MCLG’s allow for a margin of safety.**MRDL: Maximum Residual Disinfectant Level** The highest level of a disinfectant allowed in drinking water.**MRDLG: Maximum Residual Disinfectant Level Goal** The level of a drinking water disinfectant below which there is no known or expected risk to health.**SMCL: Secondary Maximum Contaminant Level The** secondary standards are set to give public water systems some guidance on removing those chemicals to levels that are below what most people will find to be noticeable. They are non-mandatory and non-enforceable |

Table Notes:

* Copper. The water from Auburn's sources does not contain measurable levels of copper. However, copper can teach into the water from plumbing systems. In 2002 Auburn completed construction of two corrosion control facilities to adjust the pH of Auburn's water and minimize leaching of copper from our customer's plumbing. Monitoring in 2012 indicated that Auburn's water was in compliance with State and Federal regulations.

\*Lead. The water from Aubum does not contain measurable levels of lead. However, lead can leach into the water from plumbing systems. Algona's testing showed that the 90th percentile was .40. One sample in ten exceeded the action level. This means the ci will need to continue to do monitoring and testing

For additional information contact Russ Avery, Public Works Director at 253-833-2897